| ANNEX 2 – BID SUBMISSION FORM |  |  |  |  | YSPSC-ITB-02-2025 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ifalik & Lamotrek Solar PV Microgrid Project |  | Quantity of Elements |  |  |  | Capacity |  | Price |  |
|  | Description | Qty Ifalik | Qty Lamotrek | Total | Element | Total | Unit | Unit Cost | Total Cost |
|  | Solar system equipment |  |  |  |  |  |  |  |  |
| 1 | PV Panels kWp | 90 | 54 | 144 | 550W | 79 | kWp |  |  |
| 2 | 300V MPPT Charge Controller | 8 | 5 | 13 | 7000W | 91 | kW |  |  |
| 3 | Display and Controller module for above MPPT Charge Controller | 4 | 4 | 8 | Module | 8 | Module |  |  |
| 4 | 10000W Inverter Charger 48 Vdc / 240Vac Input & 120/240Vac Split Phase Output | 6 | 4 | 10 | Module | 10 | Module |  |  |
| 5 | Batteries 2V cell 3275Amp- Hour 100-Hr rate - 24 cells - 48Vdc banks | 144 | 96 | 240 | 2V cell 3275Ah | 32,750 | Ah for 48Vdc |  |  |
|  | Micro-grids | Weight & Length |  |  |  |  |  |  |  |
| 6 | Underground lines - Cable 1 - Size 4/0AWG | spool must be lighter than 4,000 lbs. (5,300ft maximum per spool) |  |  |  | 34,600 | ft |  |  |
| 7 | Underground lines - Cable 1 - Size 2AWG | spool must be lighter than 4,000 lbs. |  |  |  | 12,400 | ft |  |  |
| 8 | Underground lines - Cable 1 - Size 4AWG | spool must be lighter than 4,000 lbs. (23,800ft maximum per spool) |  |  |  | 32,400 | ft |  |  |
| 9 | Underground lines - Cable 2 - Size 4/0AWG | spool must be lighter than 4,000 lbs. (6,100ft maximum per spool) |  |  |  | 17,300 | ft |  |  |
| 10 | Underground lines - Cable 2 - Size 2AWG | spool must be lighter than 4,000 lbs. |  |  |  | 6,200 | ft |  |  |
| 11 | Underground lines - Cable 2 - Size 4AWG | spool must be lighter than 4,000 lbs. |  |  |  | 16,200 | ft |  |  |
| 12 |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |
| 14 |  | Freight |  |  |  |  |  |  |  |
| 15 |  | Grand Total |  |  |  |  |  |  |  |

Bidder Information

Company Name	:

Company Address	:

Company Telephone	:

Company Email	:

Submitted by,

_______________________________		Date: ________________

(Printed Name & Signature)