| ANNEX 1 – BID SUBMISSION FORM & BILL OF QUANTITY |  |  |
| --- | --- | --- |
| Ifalik & Lamotrek Solar PV Microgrid Project |  | Quantity of Elements |  | Price |  |
|  | Description | Total | Element | Unit Cost | Total Cost |
| 1 | Arrays mounting system compatible with concrete foundations & concrete supports built by YSPSC on flat sites. A total of “140 PV modules of 580Wp ULICA SOLAR data sheet as follows in this document” will be divided into 14 sub- arrays. Shall include the concrete foundation bolts (concrete supports bolts). A complete list of components to be supplied by the supplier will be provided with the bid. To be supplied: Aluminum structure for 14 Arrays as drawn MUST BE LOW ON THE GROUND ON CONCRETE FOUNDATIONS, SEE TWO PICTURES BELOW | 14 Arrays of 10 Modules each | Diagram of 10 modules each array |  |  |
|  |  |  | Subtotal |  |  |
|  |  |  | Freight Cost |  |  |
|  |  |  | Grand Total |  |  |